## METADATA
CORE NAME*
SESAR IGSN (Cyber-carotheque)
French national cyber-core repository (links)
Ressource Type | Dataset
Data Format (CSV file, XLS File, ...) | xls
Data Language (en eng Anglais English) | en
LICENCE minimum d'utilisation (Creative Commun) | CC BY 2.0 FR https://creativecommons.org/licenses/by/2.0/fr/ | CC BY NC SA Attribution-NonCommercial-ShareAlike 3.0 Unported
GENERAL INFORMATIONS
Version fichier Reference EDYTEM_XRF_data_12/02/2016
ANALYSIS | XRF scanning
DATA PUBLICATION REFERENCES (DOI)*
SITE*
PRINCIPAL INVESTIGATOR*
PRODUCING LABORATORY*
PROJECT/FUNDING
MEASUREMENT DATE (start)*
CORE INFORMATIONS | THU10_01A1
TYPE OF CORE | SECTION
Tube lenght (cm)*
Top sediment (cm)*
Bottom sediment (cm)*
Sediment lenght (cm)*
Tube Diameter (mm)*
Logging informations
Top sediment in Mastercore depth (cm)*
Mastercore depth reference date (date de construction de la mastercore)
Mastercore depth publication reference doi
Tie point depth reference date (dd/mm/yyyy)
INSTRUMENT AND SETTINGS
Instrument type*
Source*
Voltage (kV)*
Intensity (mA)*
LiveTime (s)*
Step (mm)*
Measured Area (Crosscore*DownCore)*
Filter*
Expected results*
Standards (Yes/No, Local Number,Certified standards Names)*
Operator
Processing softwares*
Special areas*
Given in mm according to Sample ID in raw data
Special area begins at | Special area ends at | Artefact type
Green cheese
Block
Crack
Sample
Hole
HEADER FIELD DATA
FOR AVAATECH SYSTEM (*raw data, $clean data)
FileName *$ | Raw data adress in the istrument computer
LiveTime *$ | LiveTime specified in the settings
RealTime * | Live time + Dead-time (which is a percentage that indicates the amount of time that is needed for processing)
MeasurementDate * | Date
MeasurementTime * | Empty
CoreID*$ | Hole number
SectionID*$ | Section number
ReplicateID*$ | Replicate number
SampleID *$ | Depth of sample in XRF depth (fixed 0) in mm
UserID | Empty
Section Depth *$ | Sediment depth in section (mm)
MCD $ | Sediment depth when several section (long core, in cm)
Age (BP) $ | Age (cal yr BP)
Age (AD) $ | Age (yr BC/AD)
Element_Area *$ | Fitted peak area (net area) given in count
Element_ DArea * | Uncertainty on the fitted peak area given in count
Element_ ChiSqr* | Reduced Chi-Square of the peak fitting results
PROTOCOL
1. X-ray fluorescence analysis gives chemical information of only the upper tens of micrometers of the sample. Therefore, to avoid any form of contamination, the sediment surface was scrapped to remove the first millimeters of sediment which can be potentially contaminated.
2. To prevent contamination of the helium flushed measurement triangle the surface of the sediment core was covered with a very thin Ultralene foil (4µm thick).
3. When the Ultralene foil is applied, air-bubbles can be enclosed between the sample and foil. These air-bubbles have been removed because they absorb X-rays and influence the data quality.
4. X-ray fluorescence analysis demands a flat and homogeneous surface. Sometimes it is necessary to carefully smoothen the sediment surface after the foil has been applied. This can be done using a roll of tape by rolling it gently from one side to the other. Always be careful not to contaminate the surface.
Method's quotation suggestion
Measurements were performed every "add resolution", using a xxxxxx core scanner …
Acknowledgment in Citing
We thanks …

## DATA
FileName | LiveTime | RealTime | MeasurementDate | MeasurementTime | CoreID | SectionID | ReplicateID | SampleID | UserID | Section Depth | MCD | Age (BP) | Age (AD) | Al_ Area | Al_ DArea | Al_ ChiSqr | Si_ Area | Si_ DArea | Si_ ChiSqr | P_ Area | P_ DArea | P_ ChiSqr | S_ Area | S_ DArea | S_ ChiSqr | Cl_ Area | Cl_ DArea | Cl_ ChiSqr | K_ Area | K_ DArea | K_ ChiSqr | Ca_ Area | Ca_ DArea | Ca_ ChiSqr | Ti_ Area | Ti_ DArea | Ti_ ChiSqr | Cr_ Area | Cr_ DArea | Cr_ ChiSqr | Mn_ Area | Mn_ DArea | Mn_ ChiSqr | Fe_ Area | Fe_ DArea | Fe_ ChiSqr | Rh_ Area | Rh_ DArea | Rh_ ChiSqr | Cu_ Area | Cu_ DArea | Cu_ ChiSqr | Zn_ Area | Zn_ DArea | Zn_ ChiSqr | Ga_ Area | Ga_ DArea | Ga_ ChiSqr | Br_ Area | Br_ DArea | Br_ ChiSqr | Rb_ Area | Rb_ DArea | Rb_ ChiSqr | Sr_ Area | Sr_ DArea | Sr_ ChiSqr | Y_ Area | Y_ DArea | Y_ ChiSqr | Zr_ Area | Zr_ DArea | Zr_ ChiSqr | Nb_ Area | Nb_ DArea | Nb_ ChiSqr | Mo_ Area | Mo_ DArea | Mo_ ChiSqr | Pb_ Area | Pb_ DArea | Pb_ ChiSqr | Bi_ Area | Bi_ DArea | Bi_ ChiSqr | Section Depth (mm) | MCD (cm) | Age cal. BP | Age (AD )